|  |  | RUBBEREX SPAIN SL |
| --- | --- | --- |
| PE GLOVE DISPOSABLE TECHINCAL FILE |  | MAIL: info@rubberex.es Phone: +34 961667124 Pol Ind. Masía del Baló. C/ Mas Vallesa de Mandor. N8 Nave 12. 46190 Ribarroja. Valencia. Spain |

| # Reference. 0205. Glove PE # COD. GTIN/EAN13 Bag 100 units: 8436036491333 # Use To avoid contamination of the products handled, as well as to protect the user's hands from soiling. Preferential use in supermarkets and department stores (self-service greengrocers and frozen foods). At service stations to avoid direct contact with lubricants. Storage gloves: The product will maintain its properties as long as it is stored in dry places, at a temperature between 10ºC and 30ºC. Do not expose to direct light. Five years expiration Regulation Royal Decree 866/2008, on plastic materials intended to come into contact with food, which transposes Directive 2002/72 / EC (update by European Regulation 10/2011) Global migration test according to the UNE-EN 1186: 2002 Standard. Minimal Risk Cat I. Regulation EU 2016/425 |  | ## Characteristics - High Density (HDPE) transparente. - Slightly embossed. - One size - Food contact - CE marking Lenght glove: 300 mm Cuff glove: 70mm Palm: 140mm thickness: 0’01mm Measures Box: 32x21x24cm Weight per box: 6.3kg Format Bag: 100 units Box 100 bags. 100 x 100: 10.000 units box Pallet: 64 ctn. 640.000 bags. |
| --- | --- | --- |